ST.STEPHEN'S COLLEGE PATHANAPURAM

(Affiliated to the University of Kerala)

Maloor College P.O., Pathanapuram, Kollam (Dt.)

Kerala-689 695 Tel: 0475-2352385/2354385/23514(O)

E-mail: ststephenspathanapuram@gmail.com

Website:www.ststephenspathanapuram.ac.in

| II Items for Networking Lab |
| --- |
| 1 | Server | Server - mini tower Server-Processor1 x Intel Xeon E3-1225V5/3.3 GHz (3.7 GHz) (Quad-Core)Processor Main Features Intel Turbo Boost Technology 2- Dell Monitor 19 inch/Dell keyboard and mouse. | 1 |  |
| 2 | DELL DESKTOP PC | INTEL CORE I 3 8TH GEN-4GB RAM-1TB HDD.-DELL MONITOR 19" INCH-WINDOWS 10 OPERATING SYSTEM DELL KEYBOARD & MOUSE | 12 |  |
| 3 | 3KVAONLINE-UPS- EXIDE 66Ah battery x 8 | 3KVA ONLINE-UPS | 1 |  |
| 4 | SERVER OS | Server OPERATING SYSTEM WINDOWS SERVER 2016 ORGINAL WITHPRDUCT KEY | 1 |  |
| 5 | ANTIVIRUS | WINDOWS 10 OPERATING SYSTEM DELL KEYBOARD & MOUSE | 13 |  |
| 6 | VALRACK | 6u 650mm d Wall mount rack with accessories. | 1 |  |
| 7 | 24 PORT GB SWITCH | Fast Ethernet:100 Mbps Half-Duplex 200 Mbps Full-Duplex Ethernet: 10 Mbps Half-Duplex 20 Mbps Full-Duplex | 1 |  |
| 8 | CABLES | Cat 6 cable | 305 mtrs |  |
| 9 | MATERIALS FOR ALL ITEMS | I O Box 24 Port 10/100/1000 Giga Switch Rack 9U Cable manager Patch panel Patch code | 28 2 1 2 2 56 |  |
| 10 | Installation | Cable laying, Installation and configuration |  |  |