Chemicals

| Sl.No. | Chemical Name | Unit | Quantity Required | Specifications | Required By |
| --- | --- | --- | --- | --- | --- |
| 1 | 1- Naphthol | 500g | 1 | NICE | Chemistry |
| 2 | 1- propanol | 500 ml | 1 | NICE | Chemistry |
| 3 | Acetic Acid glacial | 500 ml | 1 | NICE | Zoology |
| 4 | Acetocarmine | 100 ml | 1 | NICE | Botany |
| 5 | Acetone | 500 ml | 6 | NICE | Chemistry(3) + Zoology (1)+ Botany (2) |
| 6 | Acetonitrile | 500 ml | 1 | NICE | Zoology |
| 7 | Acetophenone | 500 ml | 1 | NICE | Chemistry |
| 8 | Activated Charcoal | 250g | 1 | NICE | Chemistry |
| 9 | Agar agar bacteriological | 250 gm | 1 | NICE | Botany |
| 10 | Ammonia | 2.5 L | 1 | NICE | Chemistry |
| 11 | Ammonia buffer solution | 500 ml | 1 | NICE | Chemistry |
| 12 | Ammonium chloride | 500 ml | 1 | NICE | Zoology |
| 13 | Ammonium Chloride | 500 gm | 1 | NICE | Botany |
| 14 | Ammonium hydroxide | 500 ml | 2 | NICE | Zoology(1) + Botany(1) |
| 15 | Ammonium molybdate | 100 gm | 1 | NICE | Zoology |
| 16 | Aniline | 500 ml | 1 | NICE | Chemistry |
| 17 | Anti Sera a b d | 10 ml | 1 | NICE | Zoology |
| 18 | Barium phosphate | 250g | 1 | NICE | Chemistry |
| 19 | Benedicts Reagent | 500 ml | 1 | NICE | Zoology |
| 20 | Benzaldehyde | 500 ml | 1 | NICE | Chemistry |
| 21 | Benzene | 500 ml | 1 | NICE | Chemistry |
| 22 | Borsche’s Reagent | 125 ml | 1 | NICE | Chemistry |
| 23 | Brucine sulphanilic acid | 125 ml | 1 | NICE | Zoology |
| 24 | Brucine sulphate | 10g | 1 | NICE | Chemistry |
| 25 | Buffer capsule (pH 4 & 7) | (10 Caps) | 10 | NICE | Chemistry |
| 26 | Butanol | 500 ml | 1 | NICE | Zoology |
| 27 | Calcium chloride | 500g | 1 | NICE | Chemistry |
| 28 | Calcium hydroxide | 500 g | 1 | NICE | Chemistry |
| 29 | Chloroform | 500 ml | 3 | NICE | Chemistry(1) + Botany(2) |
| 30 | Clove oil | 100 ml | 1 | NICE | Botany |
| 31 | Diamine hydrochloride | 100 gm | 1 | NICE | Zoology |
| 32 | Diethyl ether | 500 ml | 2 | NICE | Chemistry |
| 33 | Diphenyl carbazide | 10g | 1 | NICE | Chemistry |
| 34 | DPX | 250 ml | 2 | NICE | Botany |
| 35 | EDTA | 300 gm | 1 | NICE | Zoology |
| 36 | Erichrome black T | 25gm | 3 | NICE | Zoology (1) + Chemistry(1) + Botany(1) |
| 37 | Ether | 500 ml | 1 | NICE | Zoology |
| 38 | Ethyl benzoate | 500 ml | 1 | NICE | Chemistry |
| 39 | Ferric alum | 500g | 1 | NICE | Chemistry |
| 40 | Ferroin indicator | 25 ml | 1 | NICE | Zoology |
| 41 | Ferrous ammonium sulphate | 500g | 2 | NICE | Chemistry |
| 42 | Formaldehyde solution | 5 L | 1 | NICE | Zoology |
| 43 | Formaldehyde solution (37 - 41% w/v) (Formalin) | 500 ml | 3 | NICE | Botany |
| 44 | Glacial Acetic acid | 2.5 L | 1 | NICE | Chemistry |
| 45 | Glycerine (Glycerol) - 98% | 500 ml | 1 | NICE | Botany |
| 46 | Grams iodine | 125 ml | 1 | NICE | Zoology |
| 47 | Hexane | 2.5 ml | 1 | NICE | Botany |
| 48 | Hydrochloric acid | 2L | 1 | NICE | Zoology |
| 49 | Hydrochloric Acid | 500 ml | 2 | NICE | Botany |
| 50 | Hydrogen peroxide (30%) | 500 ml | 1 | NICE | Chemistry |
| 51 | Isopropyl Alcohol | 500 ml | 2 | NICE | Botany |
| 52 | Lampsolv | 2 L | 1 | NICE | Zoology |
| 53 | Lead acetate | 500g | 1 | NICE | Chemistry |
| 54 | Leishman’s stain | 250 ml | 1 | NICE | Zoology |
| 55 | Lithium carbonate | 250 g | 1 | NICE | Zoology |
| 56 | M sol (Methnol ) | 500 ml | 1 | NICE | Zoology |
| 57 | Manganese acetate | 500g | 1 | NICE | Chemistry |
| 58 | Manganous sulphate | 1000 gm | 1 | NICE | Zoology |
| 59 | Manganous sulphate Monohydrate | 500g | 1 | NICE | Chemistry |
| 60 | Mangnesium Chloride | 500 gm | 1 | NICE | Zoology |
| 61 | Metallic Sodium | 250g | 1 | NICE | Chemistry |
| 62 | Methanol | 500 ml | 1 | NICE | Chemistry |
| 63 | Methyl Orange | 125 ml | 4 | NICE | Zoology (2) + Botany(1) + Chemistry(1) |
| 64 | Methylene blue | 125 ml | 1 | NICE | Zoology |
| 65 | Murexide | 5 g | 1 | NICE | Chemistry |
| 66 | N- phenyl anthranillic acid | 25 g | 1 | NICE | Chemistry |
| 67 | N-1 Naphthyl ethylene diamine dihydrochloride | 5 gm | 1 | NICE | Zoology |
| 68 | Naphthalene | 250 g | 1 | NICE | Chemistry |
| 69 | n-Hexane | 2.5 L | 1 | NICE | Chemistry |
| 70 | Ninhydrin solution | 500 ml | 1 | NICE | Zoology |
| 71 | Nitric Acid | 500 ml | 1 | NICE | Botany |
| 72 | Nitrobenzene | 500 ml | 1 | NICE | Chemistry |
| 73 | Orthophosphoric acid - 88% (Phosphoric acid) | 500ml | 1 | NICE | Botany |
| 74 | Oxalic acid | 500 gm | 1 | NICE | Zoology |
| 75 | Paraffin wax with ceresin (Solid) | 500 gm | 1 | NICE | Botany |
| 76 | Paraffin Wax-block form | 500 g | 1 | NICE | Zoology |
| 77 | Pentane | 500ml | 1 | NICE | Botany |
| 78 | Periodic acid | 25 g | 1 | NICE | Zoology |
| 79 | Petroleum ether 60 - 80C | 500 ml | 2 | NICE | Botany |
| 80 | pH Buffer tablet 4 | 1 bottle | 1 | NICE | Zoology |
| 81 | pH Buffer tablet 7 | 1 bottle | 1 | NICE | Zoology |
| 82 | pH Buffer tablet 9.2 | 1 bottle | 1 | NICE | Zoology |
| 83 | pH indicator solution | 1 bottle | 1 | NICE | Zoology |
| 84 | pH Paper | 3 Strip | 3 | NICE | Zoology |
| 85 | Phenol | 2 x 500 ml | 2 | NICE | Chemistry |
| 86 | Phenol reagent (Folin & ciocalteu’s) | 125 ml | 2 | NICE | Botany |
| 87 | Phenophthalein indicator | 125 ml | 4 | NICE | Zoology (2) + Botany(1) + Chemistry(1) |
| 88 | Phenyl hydrazine hydrochloride | 100g | 1 | NICE | Chemistry |
| 89 | Picric acid | 125 ml | 1 | NICE | Botany |
| 90 | Potassium Chromate | 500 gm | 1 | NICE | Botany |
| 91 | Potassium dihydrogen orthophosphate | 500 gm | 1 | NICE | Botany |
| 92 | Potassium hydroxide | 1000 gm | 1 | NICE | Zoology |
| 93 | Potassium iodide | 200 g | 3 | NICE | Zoology (1) + Botany(1)+ Chemistry(1) |
| 94 | Potassium nitrate | 5gm | 1 | NICE | Botany |
| 95 | R B C Diluting Fluid (Turk’s) | 125 ml | 1 | NICE | Zoology |
| 96 | Safranine stain solution | 125 ml | 1 | NICE | Botany |
| 97 | Schiff’s reagent | 125 ml | 1 | NICE | Chemistry |
| 98 | Silica gel ‘G’ for TLC | 500 gm | 1 | NICE | Botany |
| 99 | Silica gel 60 -120 mesh for column chromatography | 500 gm | 1 | NICE | Botany |
| 100 | Silica gel G for TLC | 1 x 250g | 1 | NICE | Chemistry |
| 101 | Silver nitrate powder | 10 g | 1 | NICE | Zoology |
| 102 | Silver nitrate solution | 125 ml | 1 | NICE | Chemistry |
| 103 | Sodium dihydrogen phosphate | 500 g | 1 | NICE | Zoology |
| 104 | Sodium hydroxide | 500 gm | 1 | NICE | Zoology |
| 105 | Sodium acetate | 500g | 1 | NICE | Chemistry |
| 106 | Sodium bicarbonate | 500g | 3 | NICE | Chemistry(2) + Zoology (1) |
| 107 | Sodium chloride | 500g | 3 | NICE | Chemistry(1) + Zoology (2) |
| 108 | sodium hydroxide flakes 96% | 500 gm | 1 | NICE | Botany |
| 109 | Sodium hydroxide pellets | 500g | 1 | NICE | Chemistry |
| 110 | Sodium nitrate | 500g | 1 | NICE | Chemistry |
| 111 | Sodium thiosulphate | 500 gm | 2 | NICE | Zoology |
| 112 | Sodium thiosulphate pentahydrate | 500g | 1 | NICE | Chemistry |
| 113 | Stanous chloride | 100 gm | 1 | NICE | Zoology |
| 114 | Succinic acid | 250 g | 1 | NICE | Chemistry |
| 115 | Sulphanilamide | 250 gm | 3 | NICE | Zoology (1) + Chemistry(1)+ Botany(1) |
| 116 | Sulphanilic acid | 100 g | 2 | NICE | Chemistry(1) + Botany(1) |
| 117 | Sulphuric acid | 2.5 L | 2 | NICE | Zoology (1) + Chemistry(1) |
| 118 | Sulphuric acid | 500 ml | 2 | NICE | Botany |
| 119 | Surgical spirit I P | 100ml | 2 |  | Zoology |
| 120 | tert-Butyl alcohol - 99% | 500 ml | 2 | NICE | Botany |
| 121 | Toluene Rectified | 500 ml | 1 | NICE | Chemistry |
| 122 | Urea | 500g | 1 | NICE | Chemistry |
| 123 | W B C Diluting Fluid (Turk’s) | 125 ml | 1 | NICE | Zoology |
| 124 | Wright stain | 125 ml | 1 | NICE | Zoology |
| 125 | Xylene Rectified 99% | 500 ml | 4 | NICE | Zoology (2)+ Botany(2) |
| 126 | Zinc acetate | 500g | 1 | NICE | Chemistry |

Equipment

| Sl.No. | Name of the Equipment | Quantity | Specification | Required By |
| --- | --- | --- | --- | --- |
| 1 | Digital storage Oscilloscope | 1 | Channels-2, Bandwidth-100MHz, Storage depth-240Kbit, Timebase-50S/Div, Vertical Sensitivity-50mV/div | Physics |
| 2 | Digital Oscilloscope Multimeter DDS Generator 3 in 1. | 1 | 2 Channel, 10mhz Bandwidth, 50msa/s Sample Rate, 10000 Counts, 【Oscilloscope mode】Portable 2 channel oscilloscope, 10mhz bandwidth, 50msa/s sampling rate, 32kb recording depth, automatic measuring function, maximum voltage 400v, vertical sensitivity 200mv/div-10v/div, support for storage and export of waveform images. 【Multimeter Mode】4 digits 10000 counts. AC voltage: 0-750V, DC voltage: 0-999.9 V, DC/AC current: 0-9.999 A, Resistance: 0-99.99 mΩ, Capacitance: 0 99.99 mF, Continuity measurement. Multifunctional meter for professionals, schools and hobbyists 【Signal Generator】The maximum output frequency of the waveform can reach 2mhz and a step of 1hz, and can emit seven waveforms, including sine, square, triangle, full, middle, noise and dc 【Save Function】One click save, sort function. you can upload the saved image by connecting to pc via type-c. you can easily compare waveforms by displaying the reference waveform and measured waveform on the same screen 【Excellent Design】The oscilloscope adopts FPGA+MCU+ADC hardware architecture, built-in high-voltage protection module, adopts 2.8 inch lcd display, built-in 3000mah lithium-ion battery, standby time up to 6h, Type-C interface supports 5V/1A charging. | Physics |
| 3 | Silica Crucible | 2 | High Temperature Resistant, Laboratory Heating & Ashing Vessel,Heat Resistant Capacity of 1500 Degree, | Physics |
| 4 | Pulse oximeter | 1 | Small and portable, size 2.4x 1.4x 1.2 inches, fingertip, adjustable display brightness, automatic switch off, low battery indicator | Physics |
| 5 | BP monitoring Machine | 1 | LCD, sphygmomanometer, cotton-cuff D ring, 3 AA batteries, Stethoscope, buds, weight 900gms | Physics |
| 6 | Non-contact thermometer | 2 | Fever alarm, memory, auto-off, LCD, rechargeable battery, | Physics |

Glasswares

| Sl.No. | Item name | Unit | Quantity Required | Specifications | Required By |
| --- | --- | --- | --- | --- | --- |
| 1 | Capillary tube (for melting point determination) | _ | 3 Boxes | Inner Diameter-1mm | Chemistry |
| 2 | Fusion tube | _ | 1 Packet | _ | Chemistry |
| 3 | Silica Crucible Lid only | 125 ml | 3 No | Infusil | Chemistry |
| 4 | BOD Bottles | 125 ml | 4 | Borosil | Chemistry |
| 5 | Beaker | 250 ml | 3 | Borosil | Zoology |
| 6 | Conical Flask | 250 ml | 6 | Borosil | Zoology |
| 7 | Glass measuring cylinder | 100 ml | 1 | Borosil | Zoology |
| 8 | Pipette pump |  | 2 |  | Zoology |
| 9 | Pipette bulb Rubber |  | 10 |  | Zoology |
| 10 | Dropper | 1 pkt | 1 pkt |  | Zoology |
| 11 | Coverslip | 22 mmX 10 Gms | 10 | Square (Blue Star No.1 English glass) | Zoology |
| 12 | Conical Flask | 100 ml | 5 |  | Botany |
| 13 | Cover slip square | 18 x 18 | I Pkt | Square | Botany |
| 14 | Coverslip round | 18 x 18 | I Pkt | Round | Botany |
| 15 | Specimen bottle (Glass ) | 180 ml | 10 |  | Botany |

| CONSUMABLES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl.No. | Item name | Unit | Quantity Required | Specifications | Required By |
| 1 | Chromatography paper | 3 sheet | 3 |  | Zoology |
| 2 | Whatman filter paper No.1 | 1 Pkt | 1 Pkt | Supertech 110 mm diameter | Zoology |
| 3 | Whatman No. 41 filter paper | 1 box | 1 | 90mm Diameter | Chemistry |
| 4 | Whatman No. 1 filter paper | 20 sheets | 20 sheets | (46x57cms Sheet) | Chemistry |
| 5 | Ordinary filter paper |  | 50 Sheets | Sheets | Chemistry |
| 6 | Blotting Paper | 1 Roll | 1 Roll |  | Botany |
| 7 | Whatman Grade-1 (1001-125) 125 mm Circle Pack of 100 sheets | One Box (Pack of 100 sheets) | One Box (Pack of 100 sheets) | 125 mm Circle Qualitative Filter Paper Sheet | Botany |
| PLASTICWARES |  |  |  |  |  |
| Sl.No. | Item name | Unit | Quantity Required | Specifications | Required By |
| 1 | Centrifuge Tubes, with Screw Cap | 15 mL | 2 Pkt | _ | Botany |
| 2 | Measuring cylinder 250 ml (Plastic) | 250 ml | 1 | _ | Botany |