## Chemicals
Sl.No | Chemical Name | Unit | Quantity Required | Specifications | Required By
1 | 1- Naphthol | 500g | 1 | NICE | Chemistry
2 | 1- propanol | 500 ml | 1 | NICE | Chemistry
3 | Acetic Acid glacial | 500 ml | 1 | NICE | Zoology
4 | Acetocarmine | 100 ml | 1 | NICE | Botany
5 | Acetone | 500 ml | 6 | NICE | Chemistry(3) + Zoology (1)+ Botany (2)
6 | Acetonitrile | 500 ml | 1 | NICE | Zoology
7 | Acetophenone | 500 ml | 1 | NICE | Chemistry
8 | Activated Charcoal | 250g | 1 | NICE | Chemistry
9 | Agar agar bacteriological | 250 gm | 1 | NICE | Botany
10 | Ammonia | 2.5 L | 1 | NICE | Chemistry
11 | Ammonia buffer solution | 500 ml | 1 | NICE | Chemistry
12 | Ammonium chloride | 500 ml | 1 | NICE | Zoology
13 | Ammonium Chloride | 500 gm | 1 | NICE | Botany
14 | Ammonium hydroxide | 500 ml | 2 | NICE | Zoology(1) + Botany(1)
15 | Ammonium molybdate | 100 gm | 1 | NICE | Zoology
16 | Aniline | 500 ml | 1 | NICE | Chemistry
17 | Anti Sera a b d | 10 ml | 1 | NICE | Zoology
18 | Barium phosphate | 250g | 1 | NICE | Chemistry
19 | Benedicts Reagent | 500 ml | 1 | NICE | Zoology
20 | Benzaldehyde | 500 ml | 1 | NICE | Chemistry
21 | Benzene | 500 ml | 1 | NICE | Chemistry
22 | Borsche’s Reagent | 125 ml | 1 | NICE | Chemistry
23 | Brucine sulphanilic acid | 125 ml | 1 | NICE | Zoology
24 | Brucine sulphate | 10g | 1 | NICE | Chemistry
25 | Buffer capsule (pH 4 & 7) | (10 Caps) | 10 | NICE | Chemistry
26 | Butanol | 500 ml | 1 | NICE | Zoology
27 | Calcium chloride | 500g | 1 | NICE | Chemistry
28 | Calcium hydroxide | 500 g | 1 | NICE | Chemistry
29 | Chloroform | 500 ml | 3 | NICE | Chemistry(1) + Botany(2)
30 | Clove oil | 100 ml | 1 | NICE | Botany
31 | Diamine hydrochloride | 100 gm | 1 | NICE | Zoology
32 | Diethyl ether | 500 ml | 2 | NICE | Chemistry
33 | Diphenyl carbazide | 10g | 1 | NICE | Chemistry
34 | DPX | 250 ml | 2 | NICE | Botany
35 | EDTA | 300 gm | 1 | NICE | Zoology
36 | Erichrome black T | 25gm | 3 | NICE | Zoology (1) + Chemistry(1) + Botany(1)
37 | Ether | 500 ml | 1 | NICE | Zoology
38 | Ethyl benzoate | 500 ml | 1 | NICE | Chemistry
39 | Ferric alum | 500g | 1 | NICE | Chemistry
40 | Ferroin indicator | 25 ml | 1 | NICE | Zoology
41 | Ferrous ammonium sulphate | 500g | 2 | NICE | Chemistry
42 | Formaldehyde solution | 5 L | 1 | NICE | Zoology
43 | Formaldehyde solution (37 - 41% w/v) (Formalin) | 500 ml | 3 | NICE | Botany
44 | Glacial Acetic acid | 2.5 L | 1 | NICE | Chemistry
45 | Glycerine (Glycerol) - 98% | 500 ml | 1 | NICE | Botany
46 | Grams iodine | 125 ml | 1 | NICE | Zoology
47 | Hexane | 2.5 ml | 1 | NICE | Botany
48 | Hydrochloric acid | 2L | 1 | NICE | Zoology
49 | Hydrochloric Acid | 500 ml | 2 | NICE | Botany
50 | Hydrogen peroxide (30%) | 500 ml | 1 | NICE | Chemistry
51 | Isopropyl Alcohol | 500 ml | 2 | NICE | Botany
52 | Lampsolv | 2 L | 1 | NICE | Zoology
53 | Lead acetate | 500g | 1 | NICE | Chemistry
54 | Leishman’s stain | 250 ml | 1 | NICE | Zoology
55 | Lithium carbonate | 250 g | 1 | NICE | Zoology
56 | M sol (Methnol ) | 500 ml | 1 | NICE | Zoology
57 | Manganese acetate | 500g | 1 | NICE | Chemistry
58 | Manganous sulphate | 1000 gm | 1 | NICE | Zoology
59 | Manganous sulphate Monohydrate | 500g | 1 | NICE | Chemistry
60 | Mangnesium Chloride | 500 gm | 1 | NICE | Zoology
61 | Metallic Sodium | 250g | 1 | NICE | Chemistry
62 | Methanol | 500 ml | 1 | NICE | Chemistry
63 | Methyl Orange | 125 ml | 4 | NICE | Zoology (2) + Botany(1) + Chemistry(1)
64 | Methylene blue | 125 ml | 1 | NICE | Zoology
65 | Murexide | 5 g | 1 | NICE | Chemistry
66 | N- phenyl anthranillic acid | 25 g | 1 | NICE | Chemistry
67 | N-1 Naphthyl ethylene diamine dihydrochloride | 5 gm | 1 | NICE | Zoology
68 | Naphthalene | 250 g | 1 | NICE | Chemistry
69 | n-Hexane | 2.5 L | 1 | NICE | Chemistry
70 | Ninhydrin solution | 500 ml | 1 | NICE | Zoology
71 | Nitric Acid | 500 ml | 1 | NICE | Botany
72 | Nitrobenzene | 500 ml | 1 | NICE | Chemistry
73 | Orthophosphoric acid - 88% (Phosphoric acid) | 500ml | 1 | NICE | Botany
74 | Oxalic acid | 500 gm | 1 | NICE | Zoology
75 | Paraffin wax with ceresin (Solid) | 500 gm | 1 | NICE | Botany
76 | Paraffin Wax-block form | 500 g | 1 | NICE | Zoology
77 | Pentane | 500ml | 1 | NICE | Botany
78 | Periodic acid | 25 g | 1 | NICE | Zoology
79 | Petroleum ether 60 - 80C | 500 ml | 2 | NICE | Botany
80 | pH Buffer tablet 4 | 1 bottle | 1 | NICE | Zoology
81 | pH Buffer tablet 7 | 1 bottle | 1 | NICE | Zoology
82 | pH Buffer tablet 9.2 | 1 bottle | 1 | NICE | Zoology
83 | pH indicator solution | 1 bottle | 1 | NICE | Zoology
84 | pH Paper | 3 Strip | 3 | NICE | Zoology
85 | Phenol | 2 x 500 ml | 2 | NICE | Chemistry
86 | Phenol reagent (Folin & ciocalteu’s) | 125 ml | 2 | NICE | Botany
87 | Phenophthalein indicator | 125 ml | 4 | NICE | Zoology (2) + Botany(1) + Chemistry(1)
88 | Phenyl hydrazine hydrochloride | 100g | 1 | NICE | Chemistry
89 | Picric acid | 125 ml | 1 | NICE | Botany
90 | Potassium Chromate | 500 gm | 1 | NICE | Botany
91 | Potassium dihydrogen orthophosphate | 500 gm | 1 | NICE | Botany
92 | Potassium hydroxide | 1000 gm | 1 | NICE | Zoology
93 | Potassium iodide | 200 g | 3 | NICE | Zoology (1) + Botany(1)+ Chemistry(1)
94 | Potassium nitrate | 5gm | 1 | NICE | Botany
95 | R B C Diluting Fluid (Turk’s) | 125 ml | 1 | NICE | Zoology
96 | Safranine stain solution | 125 ml | 1 | NICE | Botany
97 | Schiff’s reagent | 125 ml | 1 | NICE | Chemistry
98 | Silica gel ‘G’ for TLC | 500 gm | 1 | NICE | Botany
99 | Silica gel 60 -120 mesh for column chromatography | 500 gm | 1 | NICE | Botany
100 | Silica gel G for TLC | 1 x 250g | 1 | NICE | Chemistry
101 | Silver nitrate powder | 10 g | 1 | NICE | Zoology
102 | Silver nitrate solution | 125 ml | 1 | NICE | Chemistry
103 | Sodium dihydrogen phosphate | 500 g | 1 | NICE | Zoology
104 | Sodium hydroxide | 500 gm | 1 | NICE | Zoology
105 | Sodium acetate | 500g | 1 | NICE | Chemistry
106 | Sodium bicarbonate | 500g | 3 | NICE | Chemistry(2) + Zoology (1)
107 | Sodium chloride | 500g | 3 | NICE | Chemistry(1) + Zoology (2)
108 | sodium hydroxide flakes 96% | 500 gm | 1 | NICE | Botany
109 | Sodium hydroxide pellets | 500g | 1 | NICE | Chemistry
110 | Sodium nitrate | 500g | 1 | NICE | Chemistry
111 | Sodium thiosulphate | 500 gm | 2 | NICE | Zoology
112 | Sodium thiosulphate pentahydrate | 500g | 1 | NICE | Chemistry
113 | Stanous chloride | 100 gm | 1 | NICE | Zoology
114 | Succinic acid | 250 g | 1 | NICE | Chemistry
115 | Sulphanilamide | 250 gm | 3 | NICE | Zoology (1) + Chemistry(1)+ Botany(1)
116 | Sulphanilic acid | 100 g | 2 | NICE | Chemistry(1) + Botany(1)
117 | Sulphuric acid | 2.5 L | 2 | NICE | Zoology (1) + Chemistry(1)
118 | Sulphuric acid | 500 ml | 2 | NICE | Botany
119 | Surgical spirit I P | 100ml | 2 |  | Zoology
120 | tert-Butyl alcohol - 99% | 500 ml | 2 | NICE | Botany
121 | Toluene Rectified | 500 ml | 1 | NICE | Chemistry
122 | Urea | 500g | 1 | NICE | Chemistry
123 | W B C Diluting Fluid (Turk’s) | 125 ml | 1 | NICE | Zoology
124 | Wright stain | 125 ml | 1 | NICE | Zoology
125 | Xylene Rectified 99% | 500 ml | 4 | NICE | Zoology (2)+ Botany(2)
126 | Zinc acetate | 500g | 1 | NICE | Chemistry

## Equipment
Sl.No | Name of the Equipment | Quantity | Specification | Required By
1 | Digital storage Oscilloscope | 1 | Channels-2, Bandwidth-100MHz, Storage depth-240Kbit, Timebase-50S/Div, Vertical Sensitivity-50mV/div | Physics
2 | Digital Oscilloscope Multimeter DDS Generator 3 in 1. | 1 | 2 Channel, 10mhz Bandwidth, 50msa/s Sample Rate, 10000 Counts, 【Oscilloscope mode】Portable 2 channel oscilloscope, 10mhz bandwidth, 50msa/s sampling rate, 32kb recording depth, automatic measuring function, maximum voltage 400v, vertical sensitivity 200mv/div-10v/div, support for storage and export of waveform images. 【Multimeter Mode】4 digits 10000 counts. AC voltage: 0-750V, DC voltage: 0-999.9 V, DC/AC current: 0-9.999 A, Resistance: 0-99.99 mΩ, Capacitance: 0 99.99 mF, Continuity measurement. Multifunctional meter for professionals, schools and hobbyists 【Signal Generator】The maximum output frequency of the waveform can reach 2mhz and a step of 1hz, and can emit seven waveforms, including sine, square, triangle, full, middle, noise and dc 【Save Function】One click save, sort function. you can upload the saved image by connecting to pc via type-c. you can easily compare waveforms by displaying the reference waveform and measured waveform on the same screen 【Excellent Design】The oscilloscope adopts FPGA+MCU+ADC hardware architecture, built-in high-voltage protection module, adopts 2.8 inch lcd display, built-in 3000mah lithium-ion battery, standby time up to 6h, Type-C interface supports 5V/1A charging. | Physics
3 | Silica Crucible | 2 | High Temperature Resistant, Laboratory Heating & Ashing Vessel,Heat Resistant Capacity of 1500 Degree, | Physics
4 | Pulse oximeter | 1 | Small and portable, size 2.4x 1.4x 1.2 inches, fingertip, adjustable display brightness, automatic switch off, low battery indicator | Physics
5 | BP monitoring Machine | 1 | LCD, sphygmomanometer, cotton-cuff D ring, 3 AA batteries, Stethoscope, buds, weight 900gms | Physics
6 | Non-contact thermometer | 2 | Fever alarm, memory, auto-off, LCD, rechargeable battery, | Physics

## Glasswares
Sl.No | Item name | Unit | Quantity Required | Specifications | Required By
1 | Capillary tube (for melting point determination) | _ | 3 Boxes | Inner Diameter-1mm | Chemistry
2 | Fusion tube | _ | 1 Packet | _ | Chemistry
3 | Silica Crucible Lid only | 125 ml | 3 No | Infusil | Chemistry
4 | BOD Bottles | 125 ml | 4 | Borosil | Chemistry
5 | Beaker | 250 ml | 3 | Borosil | Zoology
6 | Conical Flask | 250 ml | 6 | Borosil | Zoology
7 | Glass measuring cylinder | 100 ml | 1 | Borosil | Zoology
8 | Pipette pump |  | 2 |  | Zoology
9 | Pipette bulb Rubber |  | 10 |  | Zoology
10 | Dropper | 1 pkt | 1 pkt |  | Zoology
11 | Coverslip | 22 mmX 10 Gms | 10 | Square (Blue Star No.1 English glass) | Zoology
12 | Conical Flask | 100 ml | 5 |  | Botany
13 | Cover slip square | 18 x 18 | I Pkt | Square | Botany
14 | Coverslip round | 18 x 18 | I Pkt | Round | Botany
15 | Specimen bottle (Glass ) | 180 ml | 10 |  | Botany

## Consumables
CONSUMABLES
Sl.No | Item name | Unit | Quantity Required | Specifications | Required By
1 | Chromatography paper | 3 sheet | 3 |  | Zoology
2 | Whatman filter paper No.1 | 1 Pkt | 1 Pkt | Supertech 110 mm diameter | Zoology
3 | Whatman No. 41 filter paper | 1 box | 1 | 90mm Diameter | Chemistry
4 | Whatman No. 1 filter paper, - | 20 sheets | 20 sheets | (46x57cms Sheet) | Chemistry
5 | Ordinary filter paper |  | 50 Sheets | Sheets | Chemistry
6 | Blotting Paper | 1 Roll | 1 Roll |  | Botany
7 | Whatman Grade-1 (1001-125) 125 mm Circle Pack of 100 sheets | One Box ( Pack of 100 sheets) | One Box ( Pack of 100 sheets) | 125 mm Circle Qualitative Filter Paper Sheet, | Botany
PLASTICWARES
Sl.No | item name | Unit | Quantity Required | Specifications | Required By
1 | Centrifuge Tubes, with Screw Cap | 15 mL | 2 Pkt | _ | Botany
2 | Measuring cylinder 250 ml (Plastic) | 250 ml | 1 | _ | Botany